## CDAKB
DAFTAR PRODUK PT BERKAH ANEKA KARYA
FACEMED TAHUN 2026
IDAK : 91203023827050291 CDAKB : PB-UMKU: 912030238270502870001
No | Nama Produk |  | Link Brosur | Gambar & Video | Spesifikasi | Merk | Type | Harga Principle | Harga Before PPN | PPn | Harga Tayang ( Include PPn ) | Kategori Inavroc BAK | SKP IP | No. Sertifikat TKDN | Masa Berlaku Sert. TKDN | NIE | Struktur Harga | Kode KFA | Surat Keterangab Layanan Purna Jual dan Spare Part | Sertifikat Telekomunikasi | Garansi | Link Inavroc | Principle
1 | Bahan Habis Pakai Medis
| 1 | FACEMED Syringe with Needle 1cc |  |  |  | FACEMED |  |  | 1300 | 143 | 1443 | Alat Kesehatan · Peralatan Rumah Sakit Umum dan Perorangan · Peralatan Rumah Sakit Umum dan Perorangan Terapetik |  | BELUM KELUAR MASIH PROSESS | [8 empty] | PT AIRA
| 2 | FACEMED Syringe with Needle 3cc |  |  |  | FACEMED |  |  | 1300 | 143 | 1443 | Alat Kesehatan · Peralatan Rumah Sakit Umum dan Perorangan · Peralatan Rumah Sakit Umum dan Perorangan Terapetik |  | 5750/SJ-IND.8/E-TKDN/4/2025 | 2028-04-24 | AKD 20902621269 | [6 empty] | PT AIRA
| 3 | FACEMED Syringe with Needle 5cc |  |  |  | FACEMED |  |  | 1500 | 165 | 1665 | Alat Kesehatan · Peralatan Rumah Sakit Umum dan Perorangan · Peralatan Rumah Sakit Umum dan Perorangan Terapetik |  | 4310/SJ-IND.8/E-TKDN/3/2025 | 25 Maret 2028 | AKD 20902621269
| 4 | FACEMED Syringe with Needle 10cc |  |  |  | FACEMED |  |  | 1700 | 187 | 1887 | Alat Kesehatan · Peralatan Rumah Sakit Umum dan Perorangan · Peralatan Rumah Sakit Umum dan Perorangan Terapetik |  | 4309/SJ-IND.8/E-TKDN/3/2025 | 25 Maret 2028 | AKD 20902621277
| 5 | Nebulizer Mask
| 6 | Nasal Oksigen Canula Adult | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 7 | Nasal Oksigen Canula Child | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 8 | Nasal Oksigen Canula Toddler | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 9 | Nasal Oksigen Canula Infant/Baby | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 10 | Oksigen Mask ( XL,L,M,S ) | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 11 | Suction Catheter (6FR, 8FR, 10FR, 12FR, 14FR, 16FR) | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 12 | Close Suction Catheter (6FR, 8FR, 10FR, 12FR, 14FR, 16FR) | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 13 | Breathing Circuit With Double Water Trap | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 14 | Urine Bag | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 15 | Anesthesia Circuit | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 16 | Suction Connecting Tube | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 17 | Infusion Set Standard Type (Adult, Child) | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 18 | Infusion Set Autostop Y Connector Needless | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 19 | IV Chatheter Pen Type (26G, 24G, 22G, 20G, 18G, 16G) / Wings Type (18G 20G 22G 24G 26G) | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 20 | Three Way Stopcock (Standard, With Tubing) | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 21 | Blood Safety Box Transfusion set (Adult) | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 22 | Safety Box (Yellow) 12,5L, 8L, 5L, 2,5L | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 23 | Double chamber Blood Transfusion set | [20 empty] | PT OCEAN MEDIKA INDONESIA
| 24 | Urine container | [20 empty] | PT TIRTA MAS
| 25 | urine container sterile
| 26 | Feces container
| 27 | sputum container
| 28 | sputum container sterile
2 | ALAT KESEHATAN
|  | Fetal Dopler | [14 empty] | 4655/SJ-IND.8/E-TKDN/7/2024 | 2 Juli 2027 |  |  |  |  | PT MIKI
|  | Fetal Dopler | [14 empty] | 16286/SJ-IND.8/E-TKDN/10/2025 | 22 Oktober 2028- |  |  |  |  | PT MIKI
|  | tensimeter lengan | [20 empty] | PT MIKI
|  | nebulizer | [14 empty] | 17752/SJ-IND.8/E-TKDN/11/2025 | 2028-11-14 |  |  |  |  | PT MIKI
PT MIKI
3 | ALAT LABORATORIUM
|  | Freezer -25°C |  |  |  |  | dw-25L 262 |  | 31900000 |  |  | Alat Laboratorium > Sarana dan Penunjang Laboratorium > Sarana dan Penunjang Laboratorium Lainnya |  |  |  | 0 | 0 | 0 |  |  | 1 Tahun |  | BIOMEDICAL | Cabinet Type Climate Class Cooling Type Defrost Mode Refrigerant Sound Level (dB(A)) Cooling Performance (°C) Temperature Range(°C) Controller Display Power Supply (V/HZ) Electrical Current (A) Capacity (L/Cu.Ft) Net/Gross Weight (approx) Interior Dimension (W*D*H) Exterior Dimension (W*D*H) Packing Dimension (W*D*H) Container Load (20'/40'/40'H) High/Low Temperature Remote Alarm Power Failure Sensor Error Low Battery High Ambient Temperature Dirty Condenser Door Ajar Caster Leveling Feet Porthole Drawers/InnerDoors Adjustable Shelves USB Interface RS485 NFC Temperature Recorder Certificate | Upright SN N Direct Cooling Manual HC 34-25-10~-25 Microprocessor LCD 220~240/50 1.4 262/9.3 88/93 194.0/205.0 480*465*1430 18.9*18.3*56.3 700*705*1665 27.6*27.8*65.6 775*760*1880 30.5*29.9*74.0 21/45/45 Y Y Y Y N Y N Y Y Y Y 7/N N Optional Optional N N CE
|  | Freezer -86°C |  |  |  |  | DW-86l 348J |  | 67700000
|  | Freezer -86°C |  |  | GENERAL Storage Capacity(L/Cu.Ft) 490/17.3 Temperature Range(°C) -40~-86 Noise (dB(A)) 50, Net/Gross Weight (kg) : 255/2 86 Exterior Dimensions (W*D*H) : 830*980*1980, Interior Dimensions (W*D*H) : 465*716*1310, ENVIRONMENTAL & ELECTRICAL DATA Electrical Power (V/HZ) 220～240/50 Power Consumption (kW-hr/day) : 8, Electrical Current (A) : 8, Building Supply Rating (A) : 8 Power Lead Length (m): 2,6, Heat Rejection (BTU/day) : 23509, Ambient Temperature : 10-32. REFRIGERATION CONFIGURATION Refrigeration System Type Direct Cooling, Compressor Type/Brand/Number : Hermetic Reciprocating Type/SECOP/2 Compressor Capacity (W) :610 Evaporator Type : Copper Tube Evaporator, Defrost Method :Manual Refrigerant Charge/Flammable : R290 R170/Yes CONTROLLER/ELECTRICAL SYSTEM FEATURES Controller Level Power Switch TOP, Controller Type : Microprocessor 15 A Setpoint Security : Yes, Controller Sensor : PT 100, Top 15AYes Remote Alarm Terminals Adjustable High/Low Temp Alarms : Yes. CONSTRUCTION nsulation Exterior Door Seal Interior Door Seal Shelves/Capacity/Dims/Material Casters One Seal On The Interior Door Seal Strip VIP+CFC Free Foaming Agent Four Seal On The Outside Door Seal Strip 3 stainless steel adjustable shelves with dimension 441*657 mm (W*D), max capacity per shelf:54kg, 119.1 lbs Y/4 Color Coating Electric Zinc Steel Plate 90 Exterior Material Interior Material Door Thickness 130 Cabinet Thickness Double Solid Door Inner Door Color Coating Cold Plate Steel CONSTRUCTION Condenser Type Fan Brand Back Up Battery For Alarm Functions Fin Condenser EBM 210 Temperature Uniformity (°C) Temperature Accuracy (°C) Cool Down Time (25°C ambient to -80°C) mins 360 ±5 0.1 Warm Up Time (25°C ambient -80°C to -50°C) mins 1 Min Door Open Recovery Time (ambient 25°C running temp -75°C) mins PERFORMANCE Support high/low temperature, power failure, door ajar, sensor failure, high ambient temperature, hot condenser and low battery alarms,power board failure alarm | HAIER | DW-86l 388J |  | 159500000 | [12 empty] | https://katalog.inaproc.id/berkah-aneka-karya/ult-freezer-dw-86l388j
|  | Freezer -86°C |  |  |  | HAIER | DW-86L 490J |  | 184400000
|  | Freezer -86°C |  |  |  | HAIER | DW-86L 578J |  | 211300000
|  | Pharmaceutical refrigerator |  |  |  |  | HYC-1031GD |  | 85700000
[7 empty] | HYC-1031FCD |  | 85700000
3
PENUNJANG MEDIS
Mesin Loundry Infeksius
Mesin Pengering
Mesin Setrika
Gynecologi Bed Electrik
REAGEN
5
DENTIS